## Sheet1
AMC AC OF SAMBALPUR
S. No. | Description | Service Code | Quantity 'A' | Unit | Unit Rate (in Rs.) 'B' | Applicable Taxes and Duties (in Rs.) 'c' | All Inclusive Unit Rate (in Rs.) 'D=B+C' | Total All Inclusive Value(Rs.) E=D*A
1 | Dismentaling of Old AC in all over TPWODL (1 to 2.5 Ton) | 1040054 | 10 | EA |  | 0
2 | Maintenance of split/Window AC as part of Preventive Maintenance - Cap-2 Ton | 1040055 | 10 | EA |  | 0
3 | Maintenance of split/Window AC as part of Preventive Maintenance - Cap-1.5 Ton | 1040150 | 200 | EA |  | 0
4 | Checking & gas filling of AC units,Cap-2 Ton | 1020491 | 12 | EA |  | 0
5 | Checking & gas filling of AC units,Cap-1.5 Ton | 1020492 | 50 | EA |  | 0
6 | Replacement & installation of damaged compressor of AC units (Non-Inverter ) ,Cap-1.5 to 2.5 Ton | 1040057 | 5 | EA |  | 0
7 | Replacement & installation of damaged compressor of AC units (Inverter ) ,Cap-1.5 to 2.5 Ton | 1040151 | 5 | EA |  | 0
8 | Installation of AC units | 1040059 | 40 | EA |  | 0
9 | Replacement of Cupper Pipe ,Size : 1/2 inch | 1040152 | 100 | MTR |  | 0
10 | Replacement of Cupper Pipe ,Size : 1/4 inch | 1040153 | 100 | MTR |  | 0
11 | Replacement of Cupper Pipe ,Size : 5/8 inch | 1040154 | 100 | MTR |  | 0
12 | Replacement of Cupper Pipe Insulation | 1060873 | 300 | Feet |  | 0
13 | Replacement of 2 Core Copper Wire | 1061464 | 100 | MTR |  | 0
14 | Replacement of 4 Core Copper Wire | 1061465 | 100 | MTR |  | 0
15 | SITC OF PCB FOR Acs (Non Inverter) | 1020475 | 15 | EA |  | 0
16 | SITC OF PCB FOR Acs (Outdoor-Invertor) | 1020476 | 5 | EA |  | 0
17 | SITC OF PCB FOR Acs (Indoor- Invertor) | 1020477 | 15 | EA |  | 0
18 | SITC OF SENSOR FOR ACs | 1050948 | 10 | EA |  | 0
19 | SITC OF SENSOR FOR Acs (Invertor) | 1020478 | 30 | EA |  | 0
20 | SITC OF BUSH FOR ACs | 1050949 | 15 | EA |  | 0
21 | SITC OF BUSH FOR ACs (Invertor) | 1020478 | 20 | EA |  | 0
22 | SITC OF SWING MOTOR FOR ACs | 1050950 | 40 | EA |  | 0
23 | SITC OF SWING MOTOR FOR ACs (Invertor) | 1020490 | 15 | EA |  | 0
24 | SITC OF THERMOSTAT FOR As | 1050951 | 4 | EA |  | 0
25 | SITC OF MCB FOR Acs | 1050952 | 15 | EA |  | 0
26 | SITC OF MS-STAND FOR Acs | 1050953 | 8 | EA |  | 0
27 | SITC OF CAPILARY TUBE | 1050954 | 100 | EA |  | 0
28 | SITC OF DRAYER FILTER FOR Acs | 1050955 | 80 | EA |  | 0
29 | SITC OF BLOWER MOTOR FOR ACs | 1050956 | 10 | EA |  | 0
30 | Servicing of AC units Jet Cool Service | 1061324 | 100 | EA |  | 0
31 | Replacement of Outdoor Motor | 1061325 | 4 | AU |  | 0
32 | Replacement of Fan blade | 1061326 | 10 | AU |  | 0
33 | Supply & installation of Drain Pipe | 1061327 | 300 | M |  | 0
34 | Copper Condensor, Size: 20/32 | 1061328 | 10 | AU |  | 0
35 | SITC of Insulation Tape for Acs | 1061329 | 100 | AU |  | 0
36 | Re-installation Old MS stand fitting | 1061330 | 30 | AU |  | 0
37 | SITC OF CAPACITOR FOR ACs | 1040155 | 50 | EA |  | 0
TOTAL | [5 empty] | 0
NOTE:
§ The quantity mentioned above is for evaluation purpose only and may vary during the execution. Purchase Orders against this Supply shall be issued by TPWODL as per actual requirement.
§ The overall period of the contract shall be for a period of 12 Months and price shall be firm till the validity of contract
§ The bids will be evaluated commercially on the overall lowest cost for overall BOQ.
§ The bidders are advised to quote prices strictly in the above format. Failing to do so, bids are liable for rejection.
§ The bidder must fill each and every column of the above format. Mentioning “extra / inclusive” in any of the column may lead for rejection of the price bid.