## Schedule of Quantity
Schedule Of Quantity
Sl. No. | Description | Unit | Quantity | Spare Quantity | Total Quantity | Unit Price (Rs.) | GST (Rs.) | Unit Price - All Inclusive (Rs.) | Total Amount (All Inclusive) (Rs.)
A | SUPPLY OF MATERIAL
A1 | 33KV Transmission line package - Supply part
1 | Supply of Tower Steel Material for 130 Nos. tower
1.1 | Fabrication, galvanising and supply of various type of tower & tower parts, tower extensions (complete) excluding bolts & nuts, step bolts and stubs but including hangers, D-shackles, extension link, pack washer etc.
(i) | HT Steel | MT | 119 | 0 | 119 | 0 | 0 | 0 | 0
(ii) | Mild Steel | MT | 220 | 0 | 220 | 0 | 0 | 0 | 0
1.2 | Fabrication, galvanising and supply of stubs, cleats and stub setting template for various type of towers, tower extensions (complete) with pack washers, excluding bolts & nuts
(i) | HT Steel | MT | 23 | 0 | 23 | 0 | 0 | 0 | 0
(ii) | Mild Steel | MT | 11 | 0 | 11 | 0 | 0 | 0 | 0
1.3 | Supply of hot dip galvanized bolts & nuts including step bolts and spring washers (MS)
(i) | Bolts and Nuts of all sizes for tower structure with spring washers | MT | 30 | 0 | 30 | 0 | 0 | 0 | 0
(ii) | Bolts and nuts of all size for Stubs and template | MT | 3 | 0 | 3 | 0 | 0 | 0 | 0
2 | Supply of Earthing for Towers
(i) | Pipe Type | Set. | 130 | 13 | 143 | 0 | 0 | 0 | 0
3 | TOWER ACCESSORIES
3.1 | Supply of following Tower Accessories
(i) | Danger Plate | Nos. | 130 | 13 | 143 | 0 | 0 | 0 | 0
(ii) | Number Plate | Nos. | 130 | 13 | 143 | 0 | 0 | 0 | 0
(iii) | Phase Plate (Set of three) | Set | 260 | 26 | 286 | 0 | 0 | 0 | 0
(iv) | Circuit Plate | Set | 260 | 26 | 286 | 0 | 0 | 0 | 0
(v) | Anti-Climbing Device along with Barbed wire | Set | 130 | 13 | 143 | 0 | 0 | 0 | 0
4 | Supply of following Line Materials
4.1 | ACSR Panther Conductor | KM | 180 | 5 | 185 | 0 | 0 | 0 | 0
4.2 | Conductor Accessories Suitable for Single ACSR PANTHER Conductor
(i) | Preformed Armour Rods (12 Nos per set) | No | 132 | 13 | 145 | 0 | 0 | 0 | 0
(ii) | Vibration Dampers | No | 1560 | 156 | 1716 | 0 | 0 | 0 | 0
(iii) | Mid Span Compression Joints | No | 14 | 3 | 17 | 0 | 0 | 0 | 0
(iv) | Aluminium Repair Sleeve | No | 14 | 3 | 17 | 0 | 0 | 0 | 0
4.3 | Long Rod Insulator
(i) | 70KN Capacity (Length not more than 1070 mm) | No | 435 | 44 | 479 | 0 | 0 | 0 | 0
(ii) | 90KN Capacity (Length not more than 1527 mm) | No | 768 | 77 | 845 | 0 | 0 | 0 | 0
4.4 | INSULATOR HARDWARE FOR ACSR Panther
(i) | Single suspension Assembly | No | 252 | 25 | 277 | 0 | 0 | 0 | 0
(ii) | Double suspension Assembly | No | 144 | 14 | 158 | 0 | 0 | 0 | 0
(iii) | Pilot Assembly | No | 39 | 4 | 43 | 0 | 0 | 0 | 0
(iv) | Single tension Assembly | No | 276 | 28 | 304 | 0 | 0 | 0 | 0
(v) | Double tension Assembly | No | 492 | 49 | 541 | 0 | 0 | 0 | 0
4.5 | EARTHWIRE (7/3.15) | KM | 30 | 2 | 32 | 0 | 0 | 0 | 0
4.6 | EARTHWIRE ACCESSORIES
(i) | Suspension clamp | No | 66 | 7 | 73 | 0 | 0 | 0 | 0
(ii) | Tension clamp | No | 128 | 13 | 141 | 0 | 0 | 0 | 0
(iii) | Vibration Dampers | No | 260 | 26 | 286 | 0 | 0 | 0 | 0
(iv) | Braided Copper Earth Bond | No | 34 | 3 | 37 | 0 | 0 | 0 | 0
(v) | Sister Wire clamps / Cross by clips | No | 520 | 52 | 572 | 0 | 0 | 0 | 0
A1 | Total A1 - 33KV Transmission line package - Supply part | [7 empty] | 0
A2 | 33kV Underground cable and 4 Pole structure package - Supply Part
1 | Supply of UG Cable
(i) | 33KV 3C*400sqmm XLPE UG AR Cable | KM | 28.2 | 0 | 28.2 | 0 | 0 | 0 | 0
(ii) | Outdoor termination Kit for 33KV 3C*400Sqmm XLPE UG AR Cable | Nos | 32 | 0 | 32 | 0 | 0 | 0 | 0
(iii) | Outdoor Straight Through Jointing Kit for 33KV 3C*400Sqmm XLPE UG AR Cable | Nos | 120 | 0 | 120 | 0 | 0 | 0 | 0
(iv) | DN 200SQMM HDPE Pipe | KM | 6.6 | 0 | 6.6 | 0 | 0 | 0 | 0
(v) | Cable Route Marker | Nos | 265 | 0 | 265 | 0 | 0 | 0 | 0
2 | Supply of 4Pole Structure along with Accessories (LA, ISOLATOR & FPI, etc.,) for 16 sets
(i) | 13MTR WPB Pole | Nos | 64 | 0 | 64 | 0 | 0 | 0 | 0
(ii) | 33KV 3Ph gang operated Isolator 1250A | Set | 16 | 0 | 16 | 0 | 0 | 0 | 0
(iii) | 33KV Lightening Arrester (10 KA) | Nos | 48 | 0 | 48 | 0 | 0 | 0 | 0
(iv) | 33 KV Fault Passage Indicator with DCU and Accessories | Set | 16 | 0 | 16 | 0 | 0 | 0 | 0
(v) | 33KV 120KN Polymer Disc Insulator | Nos | 288 | 0 | 288 | 0 | 0 | 0 | 0
(vi) | 120KN Disc Hardware Fittings | Nos | 288 | 0 | 288 | 0 | 0 | 0 | 0
(vii) | 33KV 10KN Polymer Pin Insulator | Nos | 48 | 0 | 48 | 0 | 0 | 0 | 0
(viii) | GI Channel (100x50x5mm) | KG | 4894.72 | 0 | 4894.72 | 0 | 0 | 0 | 0
(ix) | GI Channel (75x40x4.8mm) | KG | 3703.68 | 0 | 3703.68 | 0 | 0 | 0 | 0
(x) | GI Angle (50x50x6mm) | KG | 864 | 0 | 864 | 0 | 0 | 0 | 0
(xi) | GI flat for Clamp (50x6mm) | KG | 256.76 | 0 | 256.76 | 0 | 0 | 0 | 0
(xii) | GI flat for Earthing (25x6mm) | KG | 900 | 0 | 900 | 0 | 0 | 0 | 0
(xiii) | GI Pipe Earthing 40mm | Nos | 48 | 0 | 48 | 0 | 0 | 0 | 0
(xiv) | PG Connector | Nos | 336 | 0 | 336 | 0 | 0 | 0 | 0
(xv) | 33KV Complete Stay Set | Nos | 96 | 0 | 96 | 0 | 0 | 0 | 0
(xvi) | Danger Plate | Nos | 64 | 0 | 64 | 0 | 0 | 0 | 0
(xvii) | Number Plate | Nos | 64 | 0 | 64 | 0 | 0 | 0 | 0
(xviii) | Anti-Climbing Device along with Barbed wire | Set | 64 | 0 | 64 | 0 | 0 | 0 | 0
(xix) | GI Fish Plate (50x6mm) | Nos | 63.43 | 0 | 63.43 | 0 | 0 | 0 | 0
(xx) | Aluminum Lugs 240sqmm | Nos | 64 | 0 | 64 | 0 | 0 | 0 | 0
(xxi) | GI Nut & Bolt, Plain Washer | KG | 320 | 0 | 320 | 0 | 0 | 0 | 0
(xxii) | DN 200SQMM HDPE Pipe for Cable Riser | Mtr | 288 | 0 | 288 | 0 | 0 | 0 | 0
A2 | Total A2 - 33kV Underground cable and 4 Pole structure package - supply part | [7 empty] | 0
| Grand Total of Supply part (A1+A2) | [7 empty] | 0
B | SERVICES
B1 | 33kV Transmission line package - Service part
1 | Erection of Tower Structure
1.1 | Check Survey along with plotting of line route on village (tika) map with Coordinates including detailed survey, preparation of profiles and revision in original route alignment, if any | KM | 27 |  | 27 | 0 | 0 | 0 | 0
1.2 | Benching
(i) | All kinds of soil except fissured rock & hard rock* | CuM | 150 |  | 150 | 0 | 0 | 0 | 0
1.3 | Excavation excluding back filling, but including shoring, shuttering, dewatering, tree cutting for tower footings etc. for:
(i) | Normal soil either dry or wet / Sandy soil | CuM | 6713 |  | 6713 | 0 | 0 | 0 | 0
(ii) | Black Cotton Soil either dry or wet | CuM | 2984 |  | 2984 | 0 | 0 | 0 | 0
(iii) | Normal submerged / marine soil where dewatering is necessary | CuM | 3730 |  | 3730 | 0 | 0 | 0 | 0
(iv) | Black cotton submerged / marine soil where dewatering is necessary | CuM | 1491.88 |  | 1491.88 | 0 | 0 | 0 | 0
1.4 | Concreting (including all associated works related to foundation)
(i) | M20 Nominal Concrete Mix 1:1.5:3 | Cum | 2231.2 |  | 2231.2 | 0 | 0 | 0 | 0
(ii) | M15 Nominal Concrete Mix 1:2:4 | Cum | 212.2 |  | 212.2 | 0 | 0 | 0 | 0
1.5 | Supply, Transportation, cutting, bar bending, and placement of reinforcement steel including labour charges | MT | 131 |  | 131 | 0 | 0 | 0 | 0
1.6 | Installation of Stub including bolts and nuts spring washer etc. | MT | 23 |  | 23 | 0 | 0 | 0 | 0
1.7 | Charges towards installation of stub setting template | MT | 68 |  | 68 | 0 | 0 | 0 | 0
1.8 | Erection of various type of towers, tower parts and tower extension (complete) with bolts and nuts, spring washer, step bolts including tack welding and supply and application of zinc rich primer and two coats of enamel paint | MT | 339 |  | 339 | 0 | 0 | 0 | 0
1.9 | Installation of earthing of towers
(i) | Pipe Type | Set. | 130 |  | 130 | 0 | 0 | 0 | 0
1.1 | Installation of the following tower accessories
(i) | Danger Plate | Nos. | 130 |  | 130 | 0 | 0 | 0 | 0
(ii) | Number Plate | Nos. | 130 |  | 130 | 0 | 0 | 0 | 0
(iii) | Phase Plate (Set of three) | Sets | 260 |  | 260 | 0 | 0 | 0 | 0
(iv) | Circuit Plate | Sets | 260 |  | 260 | 0 | 0 | 0 | 0
(v) | Anti-Climbing Device along with barbed wire. | Nos. | 130 |  | 130 | 0 | 0 | 0 | 0
1.11 | Tack welding of nuts up to approx. 10 mtrs. height OR two bottom- most panel from ground level at three places on the nuts diametrically and applying zinc rich paint immediately after tack welding. | Nos | 102389 |  | 102389 | 0 | 0 | 0 | 0
1.12 | Stringing of ACSR Panther Conductor and 7/3.15EW | RKM | 27.182 |  | 27.182 | 0 | 0 | 0 | 0
1.13 | Installation and stringing of double circuit (3 Phases of ACSR Panther Conductor) and one EW | RKM | 209.3 |  | 209.3 | 0 | 0 | 0 | 0
2 | Dismantling of Transmission Line
2.1 | Destringing of 33KV Single Circuit line with single conductor per phase along with insulator, hardware, etc., including Transportation, Loading, Unloading & Stacking in TPWODL store as directed by Project In-charge. | KM | 30 |  | 30 | 0 | 0 | 0 | 0
2.2 | Dismantling of existing towers piece by piece in safe condition including transportation, Loading, Unloading & Stacking in TPWODL store as directed by Project In-charge. | No | 115 |  | 115 | 0 | 0 | 0 | 0
2.3 | Stub dismantling work (per leg) including Transportation, Loading, Unloading & Stacking in TPWODL store as directed by Project In-charge. | EA | 460 |  | 460 | 0 | 0 | 0 | 0
B1 | Total B1 - 33kV Transmission line package - Service part | [7 empty] | 0
B2 | 33kV Underground cable and 4 Pole structure package - Service part
1 | Laying of UG Cable
i | Laying of 33KV 3C*400sqmm XLPE UG AR Cable by Cable Trench. | CKM | 0.8 |  | 0.8 | 0 | 0 | 0 | 0
ii | Laying with excavation, earth & sand filling of 33KV 3C*400sqmm XLPE UG AR Cable by Direct Buried Trench. (HDPE Pipe) | KM | 6.6 |  | 6.6 | 0 | 0 | 0 | 0
iii | Laying of 33KV 3C*400sqmm XLPE UG AR Cable Underground with 200mm HDPE Pipe (HDD Method) | KM | 21 |  | 21 | 0 | 0 | 0 | 0
iv | Installation of Outdoor termination Kit for 33KV 3C*400Sqmm XLPE UG AR Cable | No | 32 |  | 32 | 0 | 0 | 0 | 0
v | Installation of Outdoor Straight Through Jointing Kit for 33KV 3C*400Sqmm XLPE UG AR Cable | No | 120 |  | 120 | 0 | 0 | 0 | 0
vi | Supply and Installation of cable Route marker including transportation from site/tent, excavation, refilling, disposing of malba, flooding with water, ramming/compacting of foundation. | No | 265 |  | 265 | 0 | 0 | 0 | 0
2 | Erection/Installation of 4Pole Structure along with Accessories (LA, ISOLATOR, FPI, etc.,) for 16 sets
i | Installation/Erection of 13 Mtr long WPB Pole including loading and unloading, transportation, excavation, refilling, flooding with water, ramming/compacting of foundation. | Nos | 64 |  | 64 | 0 | 0 | 0 | 0
ii | Installation, testing & commissioning of 33KV, 3Ph gang operated Isolator 1250A with accessories including jumpering, cutting, welding, isolator alignment & earthing connection. | Set | 16 |  | 16 | 0 | 0 | 0 | 0
iii | Installation of 33KV,10KA Lighting arrester Polymer type | Nos | 48 |  | 48 | 0 | 0 | 0 | 0
iv | Installation, Testing, Commissioning 33 KV Fault Passage Indicator with DCU and Accessories as per TPWODL specifications. | Set | 16 |  | 16 | 0 | 0 | 0 | 0
v | Erection of 33kV, 120KN Polymeric Disc Insulator along with Hardware Fittings | Nos | 288 |  | 288 | 0 | 0 | 0 | 0
vi | Erection of 33KV 10KN Polymer Pin Insulator | Nos | 48 |  | 48 | 0 | 0 | 0 | 0
vii | Erection of GI Channel (100x50x5mm) | KG | 4894.72 |  | 4894.72 | 0 | 0 | 0 | 0
viii | Erection of GI Channel (75x40x4.8mm) | KG | 3703.68 |  | 3703.68 | 0 | 0 | 0 | 0
ix | Erection of GI Angle (50x50x6mm) | KG | 864 |  | 864 | 0 | 0 | 0 | 0
x | Erection of GI flat for Clamp (50x6mm) | KG | 256.768 |  | 256.768 | 0 | 0 | 0 | 0
xi | Erection of GI flat for Earthing (25x6mm) | KG | 900 |  | 900 | 0 | 0 | 0 | 0
xii | Erection of GI Pipe Earthing 40mm as per TPWODL specifications | Nos | 48 |  | 48 | 0 | 0 | 0 | 0
xiii | Fixing of PG Connector as per TPWODL specification | Nos | 336 |  | 336 | 0 | 0 | 0 | 0
xiv | Fixing of HT (33KV) Complete Stay Set (Complete stay set includes supply and erection of Turn Buckle Assembly, Stay Rod, Stay plate, Stay Insulator, Tension screw (GI SIZE 750X20MM) with Stay clamps and excludes Nuts & bolts and stay wire,) | Nos | 96 |  | 96 | 0 | 0 | 0 | 0
xv | Fixing of Danger Plate | Nos | 64 |  | 64 | 0 | 0 | 0 | 0
xvi | Fixing of Number Plate | Nos | 64 |  | 64 | 0 | 0 | 0 | 0
xvii | Fixing of Anti-Climbing Device along with Barbed wire | Set | 64 |  | 64 | 0 | 0 | 0 | 0
xviii | Fixing of GI Fish Plate (50x6mm) | Nos | 63.4368 |  | 63.4368 | 0 | 0 | 0 | 0
xix | Fixing of Aluminum Lugs 240sqmm | Nos | 64 |  | 64 | 0 | 0 | 0 | 0
xx | Fixing of different size of GI Nut, bolt & washers | KG | 320 |  | 320 | 0 | 0 | 0 | 0
xxi | Mounting and fixing of DN 200SQMM HDPE Pipe for Cable Riser | Mtr | 288 |  | 288 | 0 | 0 | 0 | 0
| Total B2 - 33kV Underground cable and 4 Pole structure package - Service part | [7 empty] | 0
| Grand Total of Service part (B1+B2) | [7 empty] | 0
C | Rebate for purchase of Dismantle material (2.5MT approx. per Tower) | MT | 287.5 |  | 287.5 | 0 | 0 | 0 | 0
A+B-C | Total Cost for the Project | [7 empty] | 0

## Sheet1
Schedule of Items
Sl. No. | Description | Unit | Quantity | Spare Quantity | Total Quantity | Unit Price (Rs.) | GST (Rs.) | Unit Price - All Inclusive (Rs.) | Total Amount (All Inclusive) (Rs.)
A | SUPPLY OF MATERIAL
A1 | 33KV Transmission line package - Supply part
1 | Supply of Tower Steel Material for 130 Nos. tower
1.1 | Fabrication, galvanising and supply of various type of tower & tower parts, tower extensions (complete) excluding bolts & nuts, step bolts and stubs but including hangers, D-shackles, extension link, pack washer etc.
(i) | HT Steel | MT | 119 | 0 | 119 | 0 | 0 | 0 | 0
(ii) | Mild Steel | MT | 220 | 0 | 220 | 0 | 0 | 0 | 0
1.2 | Fabrication, galvanising and supply of stubs, cleats and stub setting template for various type of towers, tower extensions (complete) with pack washers, excluding bolts & nuts
(i) | HT Steel | MT | 23 | 0 | 23 | 0 | 0 | 0 | 0
(ii) | Mild Steel | MT | 11 | 0 | 11 | 0 | 0 | 0 | 0
1.3 | Supply of hot dip galvanized bolts & nuts including step bolts and spring washers (MS)
(i) | Bolts and Nuts of all sizes for tower structure with spring washers | MT | 30 | 0 | 30 | 0 | 0 | 0 | 0
(ii) | Bolts and nuts of all size for Stubs and template | MT | 3 | 0 | 3 | 0 | 0 | 0 | 0
2 | Supply of Earthing for Towers
(i) | Pipe Type | Set. | 130 | 13 | 143 | 0 | 0 | 0 | 0
3 | TOWER ACCESSORIES
3.1 | Supply of following Tower Accessories
(i) | Danger Plate | Nos. | 130 | 13 | 143 | 0 | 0 | 0 | 0
(ii) | Number Plate | Nos. | 130 | 13 | 143 | 0 | 0 | 0 | 0
(iii) | Phase Plate (Set of three) | Set | 260 | 26 | 286 | 0 | 0 | 0 | 0
(iv) | Circuit Plate | Set | 260 | 26 | 286 | 0 | 0 | 0 | 0
(v) | Anti-Climbing Device along with Barbed wire | Set | 130 | 13 | 143 | 0 | 0 | 0 | 0
4 | Supply of following Line Materials
4.1 | ACSR Panther Conductor | KM | 180 | 5 | 185 | 0 | 0 | 0 | 0
4.2 | Conductor Accessories Suitable for Single ACSR PANTHER Conductor
(i) | Preformed Armour Rods (12 Nos per set) | No | 132 | 13 | 145 | 0 | 0 | 0 | 0
(ii) | Vibration Dampers | No | 1560 | 156 | 1716 | 0 | 0 | 0 | 0
(iii) | Mid Span Compression Joints | No | 14 | 3 | 17 | 0 | 0 | 0 | 0
(iv) | Aluminium Repair Sleeve | No | 14 | 3 | 17 | 0 | 0 | 0 | 0
4.3 | Long Rod Insulator
(i) | 70KN Capacity (Length not more than 1070 mm) | No | 435 | 44 | 479 | 0 | 0 | 0 | 0
(ii) | 90KN Capacity (Length not more than 1527 mm) | No | 768 | 77 | 845 | 0 | 0 | 0 | 0
4.4 | INSULATOR HARDWARE FOR ACSR Panther
(i) | Single suspension Assembly | No | 252 | 25 | 277 | 0 | 0 | 0 | 0
(ii) | Double suspension Assembly | No | 144 | 14 | 158 | 0 | 0 | 0 | 0
(iii) | Pilot Assembly | No | 39 | 4 | 43 | 0 | 0 | 0 | 0
(iv) | Single tension Assembly | No | 276 | 28 | 304 | 0 | 0 | 0 | 0
(v) | Double tension Assembly | No | 492 | 49 | 541 | 0 | 0 | 0 | 0
4.5 | EARTHWIRE (7/3.15) | KM | 30 | 2 | 32 | 0 | 0 | 0 | 0
4.6 | EARTHWIRE ACCESSORIES
(i) | Suspension clamp | No | 66 | 7 | 73 | 0 | 0 | 0 | 0
(ii) | Tension clamp | No | 128 | 13 | 141 | 0 | 0 | 0 | 0
(iii) | Vibration Dampers | No | 260 | 26 | 286 | 0 | 0 | 0 | 0
(iv) | Braided Copper Earth Bond | No | 34 | 3 | 37 | 0 | 0 | 0 | 0
(v) | Sister Wire clamps / Cross by clips | No | 520 | 52 | 572 | 0 | 0 | 0 | 0
A1 | Total A1 - 33KV Transmission line package - Supply part | [7 empty] | 0
A2 | 33kV Underground cable and 4 Pole structure package - Supply Part
1 | Supply of UG Cable
(i) | 33KV 3C*400sqmm XLPE UG AR Cable | KM | 28.2 | 0 | 28.2 | 0 | 0 | 0 | 0
(ii) | Outdoor termination Kit for 33KV 3C*400Sqmm XLPE UG AR Cable | Nos | 32 | 0 | 32 | 0 | 0 | 0 | 0
(iii) | Outdoor Straight Through Jointing Kit for 33KV 3C*400Sqmm XLPE UG AR Cable | Nos | 120 | 0 | 120 | 0 | 0 | 0 | 0
(iv) | DN 200SQMM HDPE Pipe | KM | 6.6 | 0 | 6.6 | 0 | 0 | 0 | 0
(v) | Cable Route Marker | Nos | 265 | 0 | 265 | 0 | 0 | 0 | 0
2 | Supply of 4Pole Structure along with Accessories (LA, ISOLATOR & FPI, etc.,) for 16 sets
(i) | 13MTR WPB Pole | Nos | 64 | 0 | 64 | 0 | 0 | 0 | 0
(ii) | 33KV 3Ph gang operated Isolator 1250A | Set | 16 | 0 | 16 | 0 | 0 | 0 | 0
(iii) | 33KV Lightening Arrester (10 KA) | Nos | 48 | 0 | 48 | 0 | 0 | 0 | 0
(iv) | 33 KV Fault Passage Indicator with DCU and Accessories | Set | 16 | 0 | 16 | 0 | 0 | 0 | 0
(v) | 33KV 120KN Polymer Disc Insulator | Nos | 288 | 0 | 288 | 0 | 0 | 0 | 0
(vi) | 120KN Disc Hardware Fittings | Nos | 288 | 0 | 288 | 0 | 0 | 0 | 0
(vii) | 33KV 10KN Polymer Pin Insulator | Nos | 48 | 0 | 48 | 0 | 0 | 0 | 0
(viii) | GI Channel (100x50x5mm) | KG | 4895 | 0 | 4895 | 0 | 0 | 0 | 0
(ix) | GI Channel (75x40x4.8mm) | KG | 3704 | 0 | 3704 | 0 | 0 | 0 | 0
(x) | GI Angle (50x50x6mm) | KG | 864 | 0 | 864 | 0 | 0 | 0 | 0
(xi) | GI flat for Clamp (50x6mm) | KG | 257 | 0 | 257 | 0 | 0 | 0 | 0
(xii) | GI flat for Earthing (25x6mm) | KG | 900 | 0 | 900 | 0 | 0 | 0 | 0
(xiii) | GI Pipe Earthing 40mm | Nos | 48 | 0 | 48 | 0 | 0 | 0 | 0
(xiv) | PG Connector | Nos | 336 | 0 | 336 | 0 | 0 | 0 | 0
(xv) | 33KV Complete Stay Set | Nos | 96 | 0 | 96 | 0 | 0 | 0 | 0
(xvi) | Danger Plate | Nos | 64 | 0 | 64 | 0 | 0 | 0 | 0
(xvii) | Number Plate | Nos | 64 | 0 | 64 | 0 | 0 | 0 | 0
(xviii) | Anti-Climbing Device along with Barbed wire | Set | 64 | 0 | 64 | 0 | 0 | 0 | 0
(xix) | GI Fish Plate (50x6mm) | Nos | 64 | 0 | 64 | 0 | 0 | 0 | 0
(xx) | Aluminum Lugs 240sqmm | Nos | 64 | 0 | 64 | 0 | 0 | 0 | 0
(xxi) | GI Nut & Bolt, Plain Washer | KG | 320 | 0 | 320 | 0 | 0 | 0 | 0
(xxii) | DN 200SQMM HDPE Pipe for Cable Riser | Mtr | 288 | 0 | 288 | 0 | 0 | 0 | 0
A2 | Total A2 - 33kV Underground cable and 4 Pole structure package - supply part | [7 empty] | 0
A | Grand Total of Supply part (A1+A2) | [7 empty] | 0
B | SERVICES
B1 | 33kV Transmission line package - Service part
1 | Erection of Tower Structure
1.1 | Check Survey along with plotting of line route on village (tika) map with Coordinates including detailed survey, preparation of profiles and revision in original route alignment, if any | KM | 27 |  | 27 | 0 | 0 | 0 | 0
1.2 | Benching
(i) | All kinds of soil except fissured rock & hard rock* | CuM | 150 |  | 150 | 0 | 0 | 0 | 0
1.3 | Excavation excluding back filling, but including shoring, shuttering, dewatering, tree cutting for tower footings etc. for:
(i) | Normal soil either dry or wet / Sandy soil | CuM | 6713 |  | 6713 | 0 | 0 | 0 | 0
(ii) | Black Cotton Soil either dry or wet | CuM | 2984 |  | 2984 | 0 | 0 | 0 | 0
(iii) | Normal submerged / marine soil where dewatering is necessary | CuM | 3730 |  | 3730 | 0 | 0 | 0 | 0
(iv) | Black cotton submerged / marine soil where dewatering is necessary | CuM | 1492 |  | 1492 | 0 | 0 | 0 | 0
1.4 | Concreting (including all associated works related to foundation)
(i) | M20 Nominal Concrete Mix 1:1.5:3 | Cum | 2231.2 |  | 2231.2 | 0 | 0 | 0 | 0
(ii) | M15 Nominal Concrete Mix 1:2:4 | Cum | 212.2 |  | 212.2 | 0 | 0 | 0 | 0
1.5 | Supply, Transportation, cutting, bar bending, and placement of reinforcement steel including labour charges | MT | 131 |  | 131 | 0 | 0 | 0 | 0
1.6 | Installation of Stub including bolts and nuts spring washer etc. | MT | 23 |  | 23 | 0 | 0 | 0 | 0
1.7 | Charges towards installation of stub setting template | MT | 68 |  | 68 | 0 | 0 | 0 | 0
1.8 | Erection of various type of towers, tower parts and tower extension (complete) with bolts and nuts, spring washer, step bolts including tack welding and supply and application of zinc rich primer and two coats of enamel paint | MT | 339 |  | 339 | 0 | 0 | 0 | 0
1.9 | Installation of earthing of towers
(i) | Pipe Type | Set. | 130 |  | 130 | 0 | 0 | 0 | 0
1.1 | Installation of the following tower accessories
(i) | Danger Plate | Nos. | 130 |  | 130 | 0 | 0 | 0 | 0
(ii) | Number Plate | Nos. | 130 |  | 130 | 0 | 0 | 0 | 0
(iii) | Phase Plate (Set of three) | Sets | 260 |  | 260 | 0 | 0 | 0 | 0
(iv) | Circuit Plate | Sets | 260 |  | 260 | 0 | 0 | 0 | 0
(v) | Anti-Climbing Device along with barbed wire. | Nos. | 130 |  | 130 | 0 | 0 | 0 | 0
1.11 | Tack welding of nuts up to approx. 10 mtrs. height OR two bottom- most panel from ground level at three places on the nuts diametrically and applying zinc rich paint immediately after tack welding. | Nos | 102389 |  | 102389 | 0 | 0 | 0 | 0
1.12 | Stringing of ACSR Panther Conductor and 7/3.15EW | RKM | 27.2 |  | 27.2 | 0 | 0 | 0 | 0
1.13 | Installation and stringing of double circuit (3 Phases of ACSR Panther Conductor) and one EW | RKM | 210 |  | 210 | 0 | 0 | 0 | 0
2 | Dismantling of Transmission Line
2.1 | Destringing of 33KV Single Circuit line with single conductor per phase along with insulator, hardware, etc., including Transportation, Loading, Unloading & Stacking in TPWODL store as directed by Project In-charge. | KM | 30 |  | 30 | 0 | 0 | 0 | 0
2.2 | Dismantling of existing towers piece by piece in safe condition including transportation, Loading, Unloading & Stacking in TPWODL store as directed by Project In-charge. | No | 115 |  | 115 | 0 | 0 | 0 | 0
2.3 | Stub dismantling work (per leg) including Transportation, Loading, Unloading & Stacking in TPWODL store as directed by Project In-charge. | EA | 460 |  | 460 | 0 | 0 | 0 | 0
B1 | Total B1 - 33kV Transmission line package - Service part | [7 empty] | 0
B2 | 33kV Underground cable and 4 Pole structure package - Service part
1 | Laying of UG Cable
i | Laying of 33KV 3C*400sqmm XLPE UG AR Cable by Cable Trench. | CKM | 0.8 |  | 0.8 | 0 | 0 | 0 | 0
ii | Laying with excavation, earth & sand filling of 33KV 3C*400sqmm XLPE UG AR Cable by Direct Buried Trench. (HDPE Pipe) | KM | 6.6 |  | 6.6 | 0 | 0 | 0 | 0
iii | Laying of 33KV 3C*400sqmm XLPE UG AR Cable Underground with 200mm HDPE Pipe (HDD Method) | KM | 21 |  | 21 | 0 | 0 | 0 | 0
iv | Installation of Outdoor termination Kit for 33KV 3C*400Sqmm XLPE UG AR Cable | No | 32 |  | 32 | 0 | 0 | 0 | 0
v | Installation of Outdoor Straight Through Jointing Kit for 33KV 3C*400Sqmm XLPE UG AR Cable | No | 120 |  | 120 | 0 | 0 | 0 | 0
vi | Supply and Installation of cable Route marker including transportation from site/tent, excavation, refilling, disposing of malba, flooding with water, ramming/compacting of foundation. | No | 265 |  | 265 | 0 | 0 | 0 | 0
2 | Erection/Installation of 4Pole Structure along with Accessories (LA, ISOLATOR, FPI, etc.,) for 16 sets
i | Installation/Erection of 13 Mtr long WPB Pole including loading and unloading, transportation, excavation, refilling, flooding with water, ramming/compacting of foundation. | Nos | 64 |  | 64 | 0 | 0 | 0 | 0
ii | Installation, testing & commissioning of 33KV, 3Ph gang operated Isolator 1250A with accessories including jumpering, cutting, welding, isolator alignment & earthing connection. | Set | 16 |  | 16 | 0 | 0 | 0 | 0
iii | Installation of 33KV,10KA Lighting arrester Polymer type | Nos | 48 |  | 48 | 0 | 0 | 0 | 0
iv | Installation, Testing, Commissioning 33 KV Fault Passage Indicator with DCU and Accessories as per TPWODL specifications. | Set | 16 |  | 16 | 0 | 0 | 0 | 0
v | Erection of 33kV, 120KN Polymeric Disc Insulator along with Hardware Fittings | Nos | 288 |  | 288 | 0 | 0 | 0 | 0
vi | Erection of 33KV 10KN Polymer Pin Insulator | Nos | 48 |  | 48 | 0 | 0 | 0 | 0
vii | Erection of GI Channel (100x50x5mm) | KG | 4895 |  | 4895 | 0 | 0 | 0 | 0
viii | Erection of GI Channel (75x40x4.8mm) | KG | 3704 |  | 3704 | 0 | 0 | 0 | 0
ix | Erection of GI Angle (50x50x6mm) | KG | 864 |  | 864 | 0 | 0 | 0 | 0
x | Erection of GI flat for Clamp (50x6mm) | KG | 257 |  | 257 | 0 | 0 | 0 | 0
xi | Erection of GI flat for Earthing (25x6mm) | KG | 900 |  | 900 | 0 | 0 | 0 | 0
xii | Erection of GI Pipe Earthing 40mm as per TPWODL specifications | Nos | 48 |  | 48 | 0 | 0 | 0 | 0
xiii | Fixing of PG Connector as per TPWODL specification | Nos | 378 |  | 378 | 0 | 0 | 0 | 0
xiv | Fixing of HT (33KV) Complete Stay Set (Complete stay set includes supply and erection of Turn Buckle Assembly, Stay Rod, Stay plate, Stay Insulator, Tension screw (GI SIZE 750X20MM) with Stay clamps and excludes Nuts & bolts and stay wire,) | Nos | 96 |  | 96 | 0 | 0 | 0 | 0
xv | Fixing of Danger Plate | Nos | 64 |  | 64 | 0 | 0 | 0 | 0
xvi | Fixing of Number Plate | Nos | 64 |  | 64 | 0 | 0 | 0 | 0
xvii | Fixing of Anti-Climbing Device along with Barbed wire | Set | 64 |  | 64 | 0 | 0 | 0 | 0
xviii | Fixing of GI Fish Plate (50x6mm) | Nos | 64 |  | 64 | 0 | 0 | 0 | 0
xix | Fixing of Aluminum Lugs 240sqmm | Nos | 64 |  | 64 | 0 | 0 | 0 | 0
xx | Fixing of different size of GI Nut, bolt & washers | KG | 320 |  | 320 | 0 | 0 | 0 | 0
xxi | Mounting and fixing of DN 200SQMM HDPE Pipe for Cable Riser | Mtr | 288 |  | 288 | 0 | 0 | 0 | 0
| Total B2 - 33kV Underground cable and 4 Pole structure package - Service part | [7 empty] | 0
B | Grand Total of Service part (B1+B2) | [7 empty] | 0
A+B | Grand Total of Supply + Service part (A+B) | [7 empty] | 0
C | Rebate for purchase of Dismantle material (2.5MT approx. per Tower) | MT | 287.5 |  | 287.5 | 0 | 0 | 0 | 0
A+B-C | Total Cost for the Project | [7 empty] | 0