## Equipment List (hidden)
Sl. No. | Items | Qty
1
2
3
4
5
6
7
8

## Tools List (hidden)
S NO. | Items | Qty
1 | Leather Safety Shoes (Color –Black) with PU toe cap. | 1 Per Highly Skilled, Skilled, Unskilled
2 | HDPE Safety helmet with chin strap and ratchet type for adjustment. (E class- Electrical grade Safety Helmet) | 1 Per Highly Skilled, Unskilled
3 | Full body harness (Safety belt with Double Lanyard with Shock-Absorber & Pole Grab Arrestor) | 1 per L/M & 1 Per Vehicle
4 | 11kV Electrical Safety Gloves – Composite type Soft electrical gloves as per size of individual. (EN/ISI Approved Mark) | 1 Per Skilled Person
5 | 500V Electrical Safety Gloves – Composite type Soft electrical gloves as per size of individual | 1 Per Skilled Person
6 | Full face visor with safety helmet | 1 Per Skilled Person
7 | FR (Fire-Resistance 8KL) jacket for chest protection - FR jacket to be of Full Sleeves and 100 % cotton material. The reflective tapes to be added/stitched to the FR Jacket. | 1 Per Highly Skilled, Skilled & Unskilled
8 | Hand Gloves Cotton | 1 Per Highly Skilled, Skilled & Unskilled
9 | Safety Googles | 1 Per Highly Skilled, Skilled & Unskilled
10 | Welding PPE's (FR Apron, Neck Hood, Hand Sleeve, Shoe Guard, Nose Mask & Welding hand Gloves) | 1 per Division
11 | Safety Gum Boots with Toe cap (14 Inch) | 6 pair Per AMC Vehicle & 2 pair Per FCC
12 | Helmet Mounted Welding Face Shield | 1 per Division
13 | Safety Induction Helmet to be mounted with external induction sensor (Honeywell / Smart Volt) | 1 Per Skilled Person
14 | FRP Ladder 9 Mtrs. (2 Fold) | 1 Per Section+ 1 Per AMC Vehicle
15 | FRP Ladder 13 Mtrs. (3 Fold) | 1 Per Section+ 1 Per AMC Vehicle
16 | FRP Ladder | 6m (1 fold) : 1/FCC
17 | Ring spanner set | 1 Per FCC + 3 Per AMC Vehicle
18 | Crimping Tools 25sqmm- 300 sq. mm | 1 Per FCC + 1 Per AMC Vehicle
19 | C Headed spanner set | 1 Per FCC + 3 Per AMC Vehicle
20 | Hammer | 1 Per FCC + 3 Per AMC Vehicle
21 | Tool box (Standard) | 1 Per FCC + 3 Per AMC Vehicle
22 | Insulated Pliers (Taparia Make) | 1 Per Skilled Person
23 | Cable pulling winch, eye, socks, PVC rollers (4 no’s) and trifors machine | 1 set per Section
24 | Adjustable Spanner set | 1 Per FCC + 3 Per AMC Vehicle
25 | Monkey Pliers | 1 Per FCC + 3 Per AMC Vehicle
26 | Heavy Base PVC Traffic Cone 750 mm and Barricading Tape | 20 per section
27 | Knife | 1 Per Skilled Person
28 | Crimping Tools - Hydraulic complete with die sets of all sizes of cables up-to 630Sq.mm. | 1 per section
29 | Nylon rope 24MM | 1 Per FCC + 4 Per AMC Vehicle
30 | Motorized Bench Drill Machine | 1 Per Sub-Division
31 | Hand Drill Machine | 1 per section
32 | Screw Driver set | 1 Per Skilled Person
33 | Nose Pliers | 1 Per Skilled Person
34 | Gas Cutting Set (Oxygen with DA, Cylinder, Gas Cutting trolley, Fire Extinguisher, Hose 7 Mtr. With color coding, flashback arrestor with both hand, Dual Pipe Torch) | 1 per division
35 | Welding machine (5 KVA) with rods | 1 per division
36 | Chain Pulley Block with chain (Capacity: 5 ton) | 1 per section
37 | Tap kit with handles | 1 per section
38 | Round File | 1 Per FCC + 3 Per AMC Vehicle
39 | Hacksaw Adjustable Frame, 12"-14" | 1 Per FCC + 3 Per AMC Vehicle
40 | Manual Tree pruner (Telescopic Type) extended up to 8 mtrs. (Make: Sthil or Equivalent) | 2 Nos. per Section
41 | Power Saw | 2 per Sub-Division
42 | Ratchet Set | 1 per AMC Vehicle
43 | 2300W 355 mm (14 inch) Heavy Duty Chop Saw with wheel included | 1 per division
44 | Jet Draw Vice Malleable | 1 per Section
45 | Hand Operated Oil Pump | 1 per Section
46 | Indian Spade (Fawra) | 1 Per FCC+2 per Section
47 | Bolt cutter | 1 per Section
48 | Pneumatic hammer * | 1 per division
49 | Manual pulley | 1 per section
50 | Come along (Kamla) clamp | 2 per section
51 | Spade / Ganti | 5 each per section
52 | Air Blower | 1 per Sub division
53 | Level Bottles | 1 per section
54 | Hot Air Blower (for heat shrink of sleeves/ joints etc. purpose) | 1 per Sub division
55 | Discharge Rod suitable with 15 m long 25 mm sq. (for AMC Vehicle) & 10 mm. sq. (for FCC) insulated Copper wire & 7.5 m operating stick. | i) 25 mm sq. cu wire: 9 per AMC vehicle
56 | Universal Rod Stick | 1 per AMC Vehicle
57 | Crocodile Clamp with flexible copper 25sq.mm | 8 per FCC & 8 per vehicle.
58 | L& Key set | 1per FCC + 1 Per AMC Vehicle
59 | Fuse wire of different ratings | -
60 | Nut Bolt and washer of different sizes | BA must maintain Regular stock of 5 Kg per section
61 | Portable Spike earthing Rod | 9 per vehicle
62 | Cotton (dhoti) Clothes for cleaning | BA must maintain Regular stock
63 | First Aid Box | 1 per FCC & 1 per vehicle.
64 | Rain Coat | 1 Per Highly Skilled, Skilled & Unskilled
65 | Re chargeable Torch light 500W | 1 per FCC & 4 per vehicle.
66 | Helmet Mounted LED Light | 1 per FCC & 4 per vehicle.
67 | RCCB/ELCB Mounted Extension Board rating shall be not more than 30mA (Capacity - 63 A, Industrial Plug Type) with MCCB & 25 mtrs. of extension flexible wire. | 1 per Section
68 | Axe | 1 per FCC & 42 per vehicle.
69 | Wire Rope Sling Set (1 Ton, 2 Ton, 5 Ton) 4m each | 1 per Section
70 | Katuri | 1 per skilled person
71 | Measuring Tape | 1 per skilled person
72 | Motorised dewatering pump with Pipe | 1 per Division
73 | Pole Cart | 1 per Section
74 | Portable Discharge Clamp Set (as per TPNODL Specifications) (One Insulated Telescopic Rod + Nine Discharge Clamps + Nine nos. of C-clamp + Nine Spike Rods + 1 connector piece + Insulated Cable) | 1 set per FCC
75 | Web sling belt (as per SWL) of rated capacity to be kept for heavy lifting of transformers + Poles | 2 per Section
76 | Tool pouch & Tool lanyard | 1 per skilled person

## For all (hidden)
S NO. | Item Description | IS Standard | Make in Bharat only | Existing Details as per last (Scrapped Tender) |  |  |  | Recommendations as per 4 DISCOM's discussion for New Tender | TPNODL Remarks | IS Standard | Make in Bharat only
|  |  |  | TPNODL | TPCODL | TPSODL | TPWODL
1 | Electrical certified safety shoes with double dencity PU sole with composite toe cap. (EN +ISI Mark on shoes) | IS 15298 Part 2 | Acme/Bata/Tata International/HighLife, Liberty | Each Employee | Each Employee | Each Employee | Each Employee | Each Employee |  | IS 15298 Part 2 | Acme/Bata/Tata International/HighLife, Liberty
2 | HDPE Safety helmet with chin strap and ratchet type for adjustment. (E class- Electrical grade Safety Helmet) | IS2925, EN397 | Udyogi, Joseph & Lesli,PERF,MSA | Each Employee | Each Employee | Each Employee | Each Employee | Each Employee |  | IS2925, EN397 | Udyogi, Joseph & Lesli,PERF,MSA
3 | Full body harness non padded (Safety belt with Double Lanyard with Shock-Absorber & Pole Grab Arrestor) and adjustable Work positioning belt | IS3531-2021, EN358, EN361,Class-P | Udyogi, Karam, Abrigo, MSA | 1 per L/M ,1 Per Vehicle | Every lineman | 1 Per Skilled Person | 1 Per Lineman | 1 Per Lineman (Skilled) Person |  | IS3531-2021, EN358, EN361,Class-P | Udyogi, Karam, Abrigo, MSA
4 | 11kV Electrical Safety Gloves – Composite type Soft electrical gloves as per size of individual. (EN +ISI Mark on gloves)Class-02with swet absorbing cotton gloves. | IS13774-2021, | ,Jayco, Raychem, Abrigo,MN rubber | 1 Per Skilled Person | Each pair of Class 00, Class 2 | 1 Per Skilled Person (Only for those engaged in 11kV Maintenance & Breakdown team) | 1 Per Lineman | 1 Per Lineman |  | IS13774-2021, | ,Jayco, Raychem, Abrigo,MN rubber
5 | 500V Electrical Safety Gloves – Composite type Soft electrical gloves as per size of individual . (EN +ISI Mark on gloves)Class-02with swet absorbing cotton gloves | IS13774-2021, | ,Jayco, Raychem, Abrigo,MN rubber | 1 Per Skilled Person | Every LM + Helper | 1 Per Skilled Person | 1 Per Lineman | 1 Per Lineman | With inner cotton gloves | IS13774-2021, | ,Jayco, Raychem, Abrigo,MN rubber
6 | Arc face visor with safety helmet. 8cal/ cm square | EN166 | Udyogi, | 1 Per Skilled Person | Every lineman (during working live LT line) | 1 Per Skilled Person | 1 Per Lineman | 1 Per Skilled Person |  | EN166 | Udyogi,
7 | FR (Fire-Resistance 8CAL/cm square) jacket for chest protection - FR jacket to be of Full Sleeves and 100 % cotton material. The reflective tapes to be added/stitched to the FR Jacket. Colour Orange-Lineman, | IS-15742 | Utkal Industrial & Safety Product, Tara Lohia, APS Industrial Solution, Udyogi where fabric from Arvind Mills, Grasim, Moffatlal, Viman, Raymond or Siyaram | 1 Per Highly Skilled, Skilled & Unskilled | Every lineman (during working on live LT line) | 1 Per Skilled Person | 1 Per Lineman | 1 Per Line man (Skilled) Person | 1 Per Line man (Skilled) Person | IS-15742 | Utkal Industrial & Safety Product, Tara Lohia, APS Industrial Solution, Udyogi where fabric from Arvind Mills, Grasim, Moffatlal, Viman, Raymond or Siyaram
106 | High visibility Cotton bledned T-shirt with Reflective stips for all employees. | IS15809 | As per the specification by discom |  | Every Employee | 1 Per Highly Skilled & Unskilled | 1 Per Highly Skilled, Skilled, Unskilled (Excluding TO) | For all emplyees including line man | 1 Per Highly Skilled & Unskilled. As Skilled is already covered in Sl.No.7 | IS15809 | As per the specification by discom
8 | Cut resistance / abrasion /PU coated Cotton hand gloves is required everytime while working for every one. | IS-6694 | Action, Udyogi, Frontier, Leslico, abrigo | 1 Per Highly Skilled, Skilled & Unskilled | Every LM + Helper | 1 Per Highly Skilled, Skilled & Unskilled | 1 Per Lineman & Helper |  | One Pair each for Skilled & Unskilled is required everytime while working | IS-6694 | Action, Udyogi, Frontier, Leslico, abrigo
9 | Safety Googles (Black safety goggles for all while working under direct sun light) | IS-5983 | Udyogi, Karam, 3M, Leslico, Abrigo | 1 Per Highly Skilled, Skilled & Unskilled | For all employees during Tree Pruning Jobs | 1 Per Skilled & Unskilled | 1 Per Lineman & Helper | One each for Skilled & Unskilled | Black safety goggles for all while working under direct sun light | IS-5983 | Udyogi, Karam, 3M, Leslico, Abrigo
10 | Welding PPE's (FR Apron, Neck Hood, Hand Sleeve, Shoe Guard, Nose Mask & leather 14" hand Gloves, wlding helmet Dark glass with Face Shiled, etc.) | IS-1179 | 3M, Honeywell | 1 per Division | BA to ensure availability & complaince during all welding Jobs | 1 Per Sub-division | 1 Per Sub-division | BA to ensure availability & complaince during all welding Jobs | - | IS-1179 | 3M, Honeywell
11 | Safety Gum Boots with compositeToe cap (14 Inch)To be provided as per foot size | IS-5557 | Bata, Udyogi, ACME | 6 pair Per AMC Vehicle ,2 pair Per FCC | Every Employee | 6 Per AMC Vehicle & 2 per DC Vehicle & 2 Per FCC | 2 Per Vehicle & 2 Per FCC | 6 Pair Per AMC Vehicle, 2 pair Per FCC | To be provided as per foot size | IS-5557 | Bata, Udyogi, ACME
12 | wearable induction voltage detector (at wrist or helmet) |  | Honeywell model HHVSB11 , JARSH model smartvolt, HVTI | 1 Per Skilled Person | Every lineman | 1 Per Skilled Person | 1 Per Lineman | 1 Per Lineman (Skilled) Person |  |  | Honeywell model HHVSB11 , JARSH model smartvolt, HVTI
13 | FRP Ladder 9 Mtrs. (2 Fold) |  | Young man, Ladder man, Aktion | 1 Per Section+1 Per AMC Vehicle | ii) 9m (2 fold): 1/vehicle. | 1 Per Section+ 1 Per AMC Vehicle + 1 Per DC Vehicle | 1 Per Vehicle (Bolero) | 1 Per Section+1 Per AMC Vehicle |  |  | Young man, Ladder man, Aktion
14 | FRP Ladder 12 Mtrs. (3 Fold) |  | Young man, Ladder man, Aktion | 1 Per Section+1 Per AMC Vehicle | ii) 12 m (3 fold): 1/Section | 1 Per Section+ 1 Per AMC Vehicle (Bolero) | 1 Per Vehicle (Bolero) | 1 Per Vehicle |  |  | Young man, Ladder man, Aktion
15 | FRP Ladder up to 7 Mtrs. (Collapsible Ladder) |  | Young man, Ladder man, Aktion | 6m (1 fold) : 1/FCC | i) 6m : 1/BSK | 1 per FCC | Not Required | 1 Per FCC ( TPCODL- 25% collapsible and 75% straight, TPSODL-100% collapsible, TPWODL- , TPNODL-25% collapsible and 75% straight) | FRP Ladder - 7 mtrs. : 1/FCC (without fold / collapsible) |  | Young man, Ladder man, Aktion
16 | Bamboo ladder |  | Make, BIS ref. & Spepcification |  | 6m (1 fold) : 2/Section |  |  | 1 Per rural FCC (For TPCODL and TPNODL) | 1 per Rural FCC Only (Rural - 570 nos.) |  | Make, BIS ref. & Spepcification
17 | Ring spanner set with Double Insulated Ring spanner set |  |  | 1 Per FCC ,3 Per AMC Vehicle | 1 per BSK + 2 per Vehicle | 1 Per FCC + 2 Per AMC Vehicle | 1 Per FCC + 6 Per Section | 1 Per FCC + 2 Per AMC Vehicle | Double Insulated Ring spanner set
18 | Crimping Tools 25sqmm-300 sq. mm |  |  | 1 Per FCC,1 Per AMC Vehicle | 1 per division | 1 Per FCC + 1 Per AMC Vehicle | 1 Per FCC + 6 Per Section | 1 Per FCC + 1 Per AMC Vehicle
19 | Crimping Tools Hydraulic 630 sq. mm | [6 empty] | 1 Per Sub-Division
20 | C Headed spanner set with Double Insulated Ring spanner set |  |  | 1 Per FCC ,3 Per AMC Vehicle | 1 per BSK + 2 per Vehicle | 1 Per FCC + 2 Per AMC Vehicle | 1 Per FCC + 6 Per Section | 1 Per FCC + 2 Per AMC Vehicle | Double Insulated C Headed spanner set
21 | Hammer 0.5-2 Kg with Fibre Handle |  |  | 1 Per FCC+3 Per AMC Vehicle | 1 per BSK + 2 per Vehicle | 1 Per FCC + 1 Per AMC Vehicle | 1 Per FCC + 3 Per Section | 1 Per FCC + 1 Per AMC Vehicle | Hammer with Fibre Handle
22 | Hammer 5 Kg with with Fibre Handle |  |  |  | 1 per section |  |  | 1 Per Section
23 | Tool Box (Standard) |  |  | 1 Per FCC , 3 Per AMC Vehicle | 1 per BSK + 2 per Vehicle | 1 Per FCC + 2 Per AMC Vehicle | 1 Per FCC + 6 Per Section | 1 Per FCC + 1 Per AMC Vehicle
24 | Pliers (Reputed Make) with double insulated |  |  | 1 Per Skilled Person | 1 per L/M | 1 Per FCC + 4 Per AMC Vehicle + 1 Per DC Vehicle | 1 Per FCC + 6 Per Section | 1 Per Lineman (Skilled) Person | Double - Insulated Pliers (Reputed Make)
25 | Cable pulling winch, eye, socks, PVC rollers (4 no’s) and trifors machine |  |  | 1 set per Section | 1 per division | 1 set per Section | 1 set per Section | 1 set per Section | Cable / Concudctor pulling winch, eye, socks, PVC rollers (4 no’s) and trifors machine
26 | Adjustable Spanner set with double insulated |  |  | 1 Per FCC ,3 Per AMC Vehicle | 1 per BSK + 2 per Vehicle | 1 Per FCC + 2 Per AMC Vehicle | 1 Per FCC + 6 Per Section | 1 Per FCC + 2 Per AMC Vehicle | Double Insulated Adjustable Spanner set
27 | Monkey Pliers with double insulated |  |  | 1 Per FCC ,3 Per AMC Vehicle | 1 per Vehicle | 1 Per FCC + 2 Per AMC Vehicle | 1 Per FCC + 6 Per Section | 1 Per FCC + 1 Per AMC Vehicle | Double Insulated Monkey Pliers
28 | Heavy Base PVC Traffic Cone 750 mm and Barricading Tape |  |  | 20 per section | 4 per BSK | 10 per Section | 10 per Section | 10 per Section
29 | Knife insulated |  |  | 1 Per Skilled Person | 1 per L/M | 1 Per FCC + 2 Per AMC Vehicle | 1 Per FCC + 6 Per Section | 1 Per FCC + 2 Per AMC Vehicle
30 | Crimping Tools - Hydraulic complete with die sets of all sizes of cables up-to 630Sq.mm. |  |  | 1 per section | 1 per section | 1 Per Sub-Division | 1 Per Sub-Division | 1 Per Sub-Division
31 | Polypopylene Rope 24 MM - |  |  | 1 Per FCC + 4 Per AMC Vehicle | 40 kg/section | 1 Per FCC + 4 Per AMC Vehicle | 1 Per FCC + 3 Per Vehicle | 1 Per FCC + 4 Per AMC Vehicle | Polypopylene Rope 24 MM -
32 | Polypopylene Rope 8 MM - |  |  |  | 15 m per L/M |  |  | 20 m per vehicle | 20 Mtrs. per vehicle
33 | Motorized Bench Drill Machine |  |  | 1 Per Sub-Division | 1 per division | 1 Per Sub-Division | 1 per Section | 1 per division
34 | Hand Drill Machine |  |  | 1 per section | 1 per division | 1 per Section | 1 per Section | 1 per Section
35 | Screw Driver set with Double Insulated Screw Driver set |  |  | 1 Per Skilled Person | 1 per L/M | 1 Per FCC + 4 Per AMC Vehicle + 1 Per DC Vehicle | 1 per FCC + 6 Per Section | 1 Per FCC + 4 Per Vehicle | Double Insulated Screw Driver set
36 | Nose Pliers with Double Insulated Screw Driver set |  |  | 1 Per Skilled Person | 1 per Vehicle | 1 Per FCC + 2 Per AMC Vehicle | 1 per FCC + 6 Per Section | 1 Per FCC + 2 Per AMC Vehicle | Double insulated Nose Pliers
37 | Gas Cutting Set (Oxygen with DA, Cylinder, Gas Cutting trolley, Fire Extinguisher, Hose 7 Mtr. With color coding, flashback arrestor with both hand, Dual Pipe Torch) with With flash back arrester at regulator and torch side. |  | Safety Inputs Required. | 1 per division | 1 per division | 1 per Sub-Division | 1 per Sub-Division | 1 Per division | With flash back arrester at regulator and torch side. |  | Safety Inputs Required.
38 | Welding machine (5 KVA) with rods. Only VRD Welding Machine |  | Safety Inputs Required. | 1 per division | 1 per division | 1 per Sub-division | 1 per Sub-division | 1 per division | Only VRD Welding Machine |  | Safety Inputs Required.
39 | Chain Pulley Block with chain (Capacity: 5 ton) |  |  | 1 per section | 1 per section | 1 per Section | 1 per Section | 1 per Section
40 | Tap kit with handles |  |  | 1 per section |  | 1 per Subdivision | 2 Per Section+1 per Subdivision | 1 per Subdivision
41 | Round File |  |  | 1 Per FCC +3 Per AMC Vehicle | 1 per BSK + 2 per Vehicle | 1 Per FCC + 2 Per AMC Vehicle | 1 per FCC + 6 Per Section | 1 Per FCC + 2 Per AMC Vehicle
42 | File Set 12” , 8”, round , half round |  |  |  | 1 per sub Division |  |  | 1 per sub Division
43 | Hacksaw Adjustable Frame, 12"-14" with blade |  |  | 1 Per FCC ,3 Per AMC Vehicle | 1 per BSK + 2 per Vehicle | 1 Per FCC + 2 Per AMC Vehicle | 1 Per FCC + 6 Per Section | 1 Per FCC + 1 Per AMC Vehicle
44 | Manual Tree pruner (Telescopic Type) extended up to 8 mtrs. (Make: Sthil or Equivalent) |  |  | 2 Nos. per Section | 2 per section | 4 Nos. per Section | 3 Nos. per Section | 1 Per section(TPSODL-4 per section, other 3 discom- 1 per FCC and 1 per section) | 1 per Camp, 1 per Section
45 | Manual Tree pruner with fixed insulated handle- up to 8 M Length | [6 empty] | To be deleted
46 | Power Saw |  |  | 2 per Sub-Division | 1 per section | 1 Nos. per Section | 1 Nos. per Section | 1 Nos. per Section
47 | Ratchet Set |  |  | 1 per AMC Vehicle | 1 per section | 1 per AMC Vehicle | 1 per Vehicle | 1 per Vehicle
48 | 2300W 355 mm (14 inch) Heavy Duty Chop Saw with wheel included |  |  | 1 per division | 1 per division | 1 per Sub-division | 1 per Sub-division | 1 per division
49 | Jet Draw Vice Malleable |  |  | 1 per Section |  | 1 per Section | 1 per Section | 1 per division
50 | Hand Operated Oil Pump |  |  | 1 per Section | 1 per section | 1 per Section | 1 per Section | 1 per Section
51 | Indian Spade (Fawra) |  |  | 1 Per FCC,2 per Section | 3 Per section | 1 Per FCC+2 per Section | 1 Per FCC+2 per Section | 1 Per FCC+2 per Section
52 | Bolt cutter |  |  | 1 per Section | 1 per sub division | 1 per AMC Vehicle | 1 per Section | 1 per Section
53 | Pneumatic hammer * |  |  | 1 per division | 1 per division | 1 per Division | 1 per Division | 1 per Division
54 | Manual pulley |  |  | 1 per section |  | 2 Per AMC Vehicle | 2 Per Vehicle | Removed | 1 per Section
55 | Come along (Kamla) clamp |  |  | 2 per section | 2 per section | 4 Per Section | 1 Per FCC+6 per Section | 4 Per Section
56 | Spade / Ganti |  |  | 5 each per section | 3 Per section | 1 Per FCC+2 per Section | 1 Per FCC+2 per Section | 1 Per FCC+2 per Section
57 | Air Blower |  |  | 1 per Sub division |  | 1 per Subdivision | 1 per Subdivision | 1 per Subdivision
58 | Level Bottles |  |  | 1 per section | 1 per division | 1 per Subdivision | 1 per Subdivision | 1 per Subdivision
59 | Hot Air Blower (for heat shrink of sleeves/ joints etc. purpose) |  |  | 1 per Sub division | 1 per Sub division | 1 per Subdivision | 1 per Subdivision | 1 per Subdivision
60 | Discharge Rod suitable with 15 m long minimum 16 mm sq. (for AMC Vehicle) & 16 mm. sq. (for FCC) insulated Copper wire & 7.5 m operating stick. |  | AS per discom spesificaton | i) 25 mm sq. cu wire: 9 per AMC vehicle | i) 10 mm sq. Cu wire : 6 per BSK ii) 10 mm sq. cu wire : 6 per vehicle | 1 Per FCC + 6 Per AMC Vehicle + 6 Per DC Vehicle | 3 nos. Per FCC + 6 nos. Per Vehicle | 6 Nos. Per FCC + 9 nos. Per Vehicle (TPSODL - 1 per FCC and 9 per vehicle only) | i) 25 mm sq. cu wire: 9 per AMC vehicle |  | AS per discom spesificaton
61 | Universal Rod Stick |  | Ritz, Bemico | 1 per AMC Vehicle |  | 1 Per AMC Vehicle | Not Present in the List | 1 Per AMC Vehicle+ 1 per Section | 1 per AMC Vehicle |  | Ritz, Bemico
62 | Crocodile Clamp with flexible copper minimum 16 sq.mm (SET of 4 clamps ) |  |  | 8 per FCC,8 per vehicle. | 8 per BSK (2 sets ) & 8 (2 sets) per vehicle. | 2 Per FCC + 3 Per AMC Vehicle + 3 Per DC Vehicle | 2 Per FCC + 3 Per Vehicle | 2 Per FCC + 3 Per Vehicle
63 | L& Key set |  |  | 1per FCC | 1 per section | 1per FCC + 1 Per AMC Vehicle + 1 Per DC Vehicle | 1per FCC + 1 per Vehicle | 1per FCC + 1 per Vehicle
64 | Fuse wire of different ratings |  |  | 1 Per AMC Vehicle |  | 0.5 Kg per Skilled Person Per Quarter | 0.5 Kg per Lineman Person Per Quarter | BA to maintain adequete Stock of Fuse Wires of diff Ratings (0.5 Kg per Lineman Person Per Quarter)
65 | Nut Bolt and washer of different sizes |  |  | BA must maintain Regular stock of 5 Kg per section | BA must maintain Regular stock of 5 Kg per section | 5Kg per section per month | 5Kg per section per month | BA must maintain Regular stock of 5 Kg per section/ Month
66 | Portable Spike earthing Rod |  |  | 9 per vehicle | 4 per BSK + 3 per vehicle | 1 per FCC + 6 Per AMC Vehicle + 6 Per DC Vehicle | 1 per FCC + 6 Per Vehicle | 6 Nos. Per FCC + 9 nos. Per Vehicle | 9 per vehicle
67 | Cotton (dhoti) Clothes for cleaning |  |  | BA must maintain Regular stock | BA must maintain Regular stock | 3 Kg per Skilled Person per month | 3 Kg per Lineman per month | 3 Kg per Lineman per month
68 | First Aid Box |  | FA box as per factories/BOCW act for 25 person. Make Thadani or equivalent | 1 per FCC & 1 per vehicle. | 1 per BSK & 1 per vehicle. | 1 Per FCC + 1 Per AMC Vehicle + 1 Per DC Vehicle | 1 Per FCC + 1 per Vehicle (Bolero) | 1 per FCC & 1 per vehicle. |  |  | FA box as per factories/BOCW act for 25 person. Make Thadani or equivalent
69 | Rain Coat |  | Make- Duckback, KC pul, Zeel, wild craft | 1 Per Highly Skilled, Skilled & Unskilled | 1 Per Lineman & Helper | 1 Per Highly Skilled+1 Per Skilled Person +1 Per Unskilled Person | 1 Per Supervisor+1 Per Lineman Person +1 Per Helper | 1 Per Highly Skilled, Skilled & Unskilled |  |  | Make- Duckback, KC pul, Zeel, wild craft
70 | Re chargeable Torch light 500W |  |  | 1 per FCC ,4 per vehicle. | 2 per BSK + 2 per vehicle | 1 Per FCC+ 4 Per AMC Vehicle + 1 Per DC Vehicle | 1 Per FCC+3 Per Vehicle | 2 per FCC ,2 per vehicle.
71 | Helmet Mounted LED Light |  |  | 1 per FCC, 4 per vehicle. |  | 1 Per FCC + 4 Per AMC Vehicle + 1 Per DC Vehicle | 1 Per FCC+2 Per Vehicle | 1 per lineman
72 | RCCB/ELCB Mounted Extension Board rating shall be not more than 30mA (Capacity - 63 A, Industrial Plug Type) with MCCB & 25 mtrs. of extension flexible wire. |  |  | 1 per Section | 1 per Section | 1 Per AMC Vehicle | 1 Per Vehicle | 1 per Section
73 | Axe |  |  | 1 per FCC & 4 per vehicle. | 2 per BSK | 1 Per FCC+4 Per AMC Vehicle | 1 Per FCC+2 Per Vehicle | 1 Per FCC+2 Per Vehicle
74 | Wire Rope Sling Set (1 Ton, 2 Ton, 5 Ton) 4m each |  |  | 1 per Section | 1 per Section | 1 Per Section | 1 Per Vehicle | 1 per Section
75 | Katuri with insulated handle |  |  | 1 per skilled person | 2 per BSK |  |  | 2 per FCC
76 | Measuring Tape |  |  | 1 per skilled person |  |  |  | 1 Per Section
77 | Motorised dewatering pump with Pipe (0.5 HP) |  |  | 1 per Division | 1 per division |  |  | 1 per Division
78 | Pole Cart |  |  | 1 per Section |  |  |  | 1 per Division | 1 per Division
79 | Portable Self Locaking Discharge Clamp Set (as per TPNODL Specifications) (One Insulated Telescopic Rod + Nine Discharge Clamps + Nine nos. of C-clamp + Nine Spike Rods + 1 connector piece + 25.sq. mm. Insulated Cable -12mtts.) |  | Harsiddh Industries | 1 set per FCC |  |  |  | TPNODL specific only2sets per FCC | 1 set per FCC |  | Harsiddh Industries
80 | Web sling belt (as per SWL) of rated capacity to be kept for heavy lifting of transformers + Poles |  |  | 2 per Section |  |  |  |  | Not Required For TPNODL
81 | Tool pouch & Tool lanyard |  |  | 1 per skilled person |  |  |  | 1 per skilled person
82 | Neon Tester (up to 33kV) |  | Taurus, HVTI, Motwani | 1 Per FCC +1 Per AMC Vehicle | 1/ vehicle | 1 Per AMC Vehicle + 1 Per DC Vehicle | 1 per Vehicle+ 1 Per Section + 1 per FCC | 1 Per Vehicle + 1 Per Section+1 per FCC except TPSODL | 1 Per FCC +1 Per AMC Vehicle |  | Taurus, HVTI, Motwani
83 | Double seriesTest Lamp - Standardized with Probe & proper casing arrangement for bulb. |  |  | 1 Per FCC,1 Per AMC Vehicle | 1/ BSK + 1 / Vehicle | 1 Per FCC + 1 Per AMC Vehicle + 1 Per DC Vehicle | 1 Per FCC + 1 Per Vehicle | 1 Per FCC + 1 Per Vehicle
84 | Non contact type LT line tester. |  | Fluke, Silicon waves | 1 per Skilled person | 1/ Lineman | 1 per Skilled person | 1 per lineman/ Lineman person | 1 per Skilled person |  |  | Fluke, Silicon waves
85 | Digital Clamp On meters |  |  | 1 Per FCC + 1 Per AMC Vehicle | 3 / Section | 1 Per FCC + 1 Per AMC Vehicle | 1 Per FCC + 1 Per Vehicle+ 1 per section | 1 Per FCC + 1 Per AMC Vehicle
86 | Smart tools (Battery Operated – Bosch Cordless Impact Wrench GDS 18V- EC 250 or GDS 18V 400) |  |  | 1 per Section | 1/Division | 1 per Section | 1 per Section | 1 per Section
87 | Digital earth resistance tester with suitable probes (Make- Rishabh) |  |  | 1 per Section | 1/ Sub- division | 1 Per Section | 1 Per Section | 1 Per Section
88 | Digital Insulation Resistance tester (500V-5000V) with suitable probes (Make- Rishabh) |  |  | 1 per Section | 1 / Sub-division | 1 Per AMC Vehicle | 1 Per Vehicle | 1 Per AMC Vehicle | TPCODL - 1 Per Section
89 | Telescopic Tree Pruner - Petrol or battery Operated |  | Sthil, Honda | 1 per Sub division | 1 |  |  | 1 Per Section | Not Required For TPNODL |  | Sthil, Honda
91 | Clip Plier |  |  |  | 1 per Vehicle |  |  | 1 per Vehicle
92 | Insulated Wire stripper |  |  |  | 1 per Vehicle |  |  | 1 per Vehicle
93 | Industrial vacuum cleaner |  |  |  | 1 per division |  |  | 1 per division
94 | Pressure Torque wrench manual |  |  |  | 1 per division |  |  | 1 per division
95 | Hydraulic nut Cutter |  |  |  | 1 per division |  |  | 1 per division
96 | Hand grinder |  |  |  | 1 per division |  |  | 1 per division
97 | Portable DG set 5KVA |  |  |  | 1 per division |  |  | Removed
98 | Measuring tape 30 M |  |  |  | 1 per section |  |  | 1 per section
99 | PVC insulation Tape 1.1 kV |  |  |  | BA must maintain Regular stock |  |  | BA must maintain Regular stock
100 | M seal Putty |  |  |  | BA must maintain Regular stock |  |  | BA must maintain Regular stock
101 | Grease / Lubricant oil |  |  |  | BA to maintain regular stock |  |  | BA to maintain regular stock
102 | Hand operated oil Can |  |  |  | 1 per section |  |  | 1 per section
103 | sand paper |  |  |  | BA to maintain regular stock |  |  | BA to maintain regular stock
104 | CRC 5-56 Powerspray | [6 empty] | BA to maintain regular stock
105 | Steel Strapping Tool (For fixing Steel Strap & Buckles ) & Cutter |  |  |  | 1 per Section |  |  | 1 per Section
107 | Oil BDV Test set (0-60kV) |  |  |  | 1/ Sub- division | 1 per Division | 1 Per Sub-Division | 1 per Division
108 | Digital Multimeter (Make : Rishabh / WACO/ MECO) |  |  |  | 1/ Sub- division |  |  | Removed
109 | Safety Brass Chain 6m long along with nylon rope 8mm for shorting cum earthing. |  |  |  |  | 2 Per FCC + 3 Per AMC Vehicle + 3 Per DC Vehicle | Not Required as per management direction | 2 per FCC+ 3 Per AMC Vehicle for TPSODL only | Not Required For TPNODL
For safe Conductor Stringing (learning from LWDC) - Suggested Additional tools and tackles
110 | Pulley for arrangement of stringing activities of lifting of tools ( spanner, sling, pulley, ropes etc.) - SWL 1T | [7 empty] | 02 Nos
111 | SWL of swivel joint – 3 T | [7 empty] | 1
112 | Sock single end SWL- 3T as per DOG, Rabbit, Panther conductor | [7 empty] | 01 As per the conductor size
113 | Automatic clamp with arrangement of remove from ground level by rope | [7 empty] | 01 Nos
114 | Hydraulic conductor cutter | [7 empty] | 01 Nos
115 | Single roller SWL 3T or Twin roller | [7 empty] | 12 Nos
116 | Open pulley SWL- 3T | [7 empty] | 04 Nos
117 | D-shackle SWL-3T, 5T | [7 empty] | 09 Nos Each Capacity
118 | Dynamometer 0 to 5T minimum | [7 empty] | 01 Nos
119 | Sling SWL- 3T and more SWL for | [7 empty] | 10 Nos
120 | Turn table SWL 10T max. | [7 empty] | 01 Nos
Note on G18: ashra: FRP Collapsable Ladder 5.5 Mtr to 6.0 Mtr
Note on F92: ashra: per section

## For TPWODL
11 KV AMC List
S NO. | Item Description | TPWODL | IS Standard | Make in Bharat only
1 | Electrical certified safety shoes with double density PU sole with composite toe cap. (EN +ISI Mark on shoes) | Each Employee | IS 15298 Part 2 | KARAM / Allen cooper Acme/Bata/Tata International/HighLife, Liberty
2 | HDPE Safety helmet with chin strap and ratchet type for adjustment. (E class- Electrical grade Safety Helmet) | Each Employee | IS2925, EN397 | KARAM,APS, Udyogi, Joseph & Lesli, PERF, MSA
3 | Full body harness non padded (Safety belt with Double Lanyard with Shock-Absorber & Pole Grab Arrestor) and adjustable Work positioning belt | 1 Per Lineman | IS3531-2021, EN358, EN361,Class-P | Udyogi, Karam, Abrigo, MSA
4 | 11kV Electrical Safety Gloves – Composite type Soft electrical gloves as per size of individual. (EN +ISI Mark on gloves)Class-02with swet absorbing cotton gloves. | 1 Per Lineman | IS13774-2021, | Udyogi, 3M, Honeywell, Jayco, Raychem, Abrigo,MN rubber
5 | 500V Electrical Safety Gloves – Composite type Soft electrical gloves as per size of individual . (EN +ISI Mark on gloves)Class-02with swet absorbing cotton gloves | 1 Per Lineman | IS13774-2021, | Udyogi, 3M, Honeywell, Jayco, Raychem, Abrigo,MN rubber
6 | Arc face visor with safety helmet. 8cal/ cm square | 1 Per Lineman | EN166 | Udyogi, Joseph lesli, Karam
7 | FR (Fire-Resistance 8CAL/cm square) jacket for chest protection - FR jacket to be of Full Sleeves and 100 % cotton material. The reflective tapes to be added/stitched to the FR Jacket. Colour Orange-Lineman, | 1 Per Lineman | IS-15742 | Utkal Industrial & Safety Product, Tara Lohia, APS Industrial Solution, Udyogi where fabric from Arvind Mills, Grasim, Moffatlal, Viman, Raymond or Siyaram
8 | High visibility Cotton bledned T-shirt with Reflective stips for all employees. | 1 Per Highly Skilled, Skilled, Unskilled (Excluding TO) | IS15809 | As per the specification by discom
9 | Cut resistance / abrasion /PU coated Cotton hand gloves is required everytime while working for every one. | 1 Per Lineman & Helper | IS-6694 | Action, Udyogi, Frontier, Leslico, abrigo, Honeywell
10 | Safety Googles (Black safety goggles for all while working under direct sun light) | 1 Per Lineman & Helper | IS-5983 | Udyogi, Karam, 3M, Leslico, Abrigo, Honeywell
11 | Welding PPE's (FR Apron, Neck Hood, Hand Sleeve, Shoe Guard, Nose Mask & leather 14" hand Gloves, wlding helmet Dark glass with Face Shiled, etc.) | BA to ensure availability & complaince during all welding Jobs | IS-1179 | 3M, Honeywell
12 | Safety Gum Boots with compositeToe cap (14 Inch)To be provided as per foot size | 6 Pair Per AMC Vehicle, 2 pair Per FCC | IS-5557 | Bata, Udyogi, ACME
13 | wearable induction voltage detector (at wrist or helmet) | 1 Per Lineman |  | Honeywell model HHVSB11 , JARSH model smartvolt, HVTI
14 | FRP Ladder 9 Mtrs. (2 Fold) | 1 Per Section+1 Per AMC Vehicle |  | Young man, Ladder man, Aktion
15 | FRP Ladder 12 Mtrs. (3 Fold) | 1 Per Vehicle |  | Young man, Ladder man, Aktion
16 | FRP Ladder up to 7 Mtrs. (Collapsible Ladder) | 1 Per FCC / 1 per section |  | Young man, Ladder man, Aktion
17 | Bamboo ladder | 1 per lineman (As per Annexure in Resource Sheet) |  | Make, BIS ref. & Spepcification
18 | Ring spanner set with Double Insulated Ring spanner set | 1 Per FCC + 2 Per AMC Vehicle
19 | Crimping Tools 25sqmm-300 sq. mm | 1 Per FCC + 1 Per AMC Vehicle
20 | Crimping Tools Hydraulic 630 sq. mm | 1 Per Sub-Division
21 | C Headed spanner set with Double Insulated Ring spanner set | 1 Per FCC + 2 Per AMC Vehicle
22 | Hammer 0.5-2 Kg with Fibre Handle | 1 Per FCC + 1 Per AMC Vehicle
23 | Hammer 5 Kg with with Fibre Handle | 1 Per Section
24 | Tool Box (Standard) | 1 Per FCC + 1 Per AMC Vehicle + 1 per lineman
25 | Insulated Pliers (Reputed Make) with double insulated | 1 Per FCC + 1 Per AMC Vehicle + 1 per lineman
26 | Cable pulling winch, eye, socks, PVC rollers (4 no’s) and trifors machine | 1 set per Section
27 | Adjustable Spanner set with double insulated | 1 Per FCC + 2 Per AMC Vehicle
28 | Monkey Pliers with double insulated | 1 Per FCC + 1 Per AMC Vehicle
29 | Heavy Base PVC Traffic Cone 750 mm and Barricading Tape | 10 per Section
30 | Knife insulated | 1 Per FCC + 2 Per AMC Vehicle + 1 per lineman
31 | Crimping Tools - Hydraulic complete with die sets of all sizes of cables up-to 630Sq.mm. | 1 Per Sub-Division
32 | Polypopylene Rope 24 MM - 200mtr | 1 Per FCC + 4 Per AMC Vehicle
33 | Polypopylene Rope 8 MM - | 100m per vehicle
34 | Motorized Bench Drill Machine | 1 per division
35 | Hand Drill Machine (battery operated) | 1 per Section
36 | Screw Driver set with Double Insulated Screw Driver set | 1 Per FCC + 4 Per Vehicle
37 | Nose Pliers with Double Insulated Screw Driver set | 1 Per FCC + 2 Per AMC Vehicle
38 | Gas Cutting Set (Oxygen with DA, Cylinder, Gas Cutting trolley, Fire Extinguisher, Hose 7 Mtr. With color coding, flashback arrestor with both hand, Dual Pipe Torch) with With flash back arrester at regulator and torch side. | 1 Per division |  | Safety Inputs Required.
39 | Welding machine (5 KVA) with rods. Only VRD Welding Machine | 1 per division |  | Safety Inputs Required.
40 | Chain Pulley Block with chain (Capacity: 5 ton) | 1 per Section
41 | Tap kit with handles | 1 per Subdivision
42 | Round File | 1 Per FCC + 2 Per AMC Vehicle
43 | File Set 12” , 8”, round , half round | 1 per sub Division
44 | Hacksaw Adjustable Frame, 12"-14" with blade | 1 Per FCC + 1 Per AMC Vehicle
45 | Manual Tree pruner (Telescopic Type) extended up to 8 mtrs. (Make: Sthil or Equivalent) | 1 Per FCC and 5 Per section
46 | Power Saw (Petrol operated) | 1 Nos. per Section
47 | Ratchet Set | 1 per Vehicle
48 | 2300W 355 mm (14 inch) Heavy Duty Chop Saw with wheel included | 1 per division
49 | Jet Draw Vice Malleable | 1 per division
50 | Hand Operated Oil Pump | 1 per Section
51 | Indian Spade (Fawra) | 1 Per FCC+2 per Section
52 | Bolt cutter | 1 per Section
53 | Pneumatic hammer * | 1 per Division
54 | Come along (Kamla) clamp | 4 Per Section
55 | Spade / Ganti | 1 Per FCC+2 per Section
56 | Air Blower | 1 per Subdivision
57 | Level Bottles | 1 per section
58 | Hot Air Blower (for heat shrink of sleeves/ joints etc. purpose) | 1 per Subdivision
59 | Discharge Rod suitable with 15 m long minimum 16 mm sq. (for AMC Vehicle) & 16 mm. sq. (for FCC) insulated Copper wire & 7.5 m operating stick. | 6 Nos. Per FCC + 9 nos. Per Vehicle |  | AS per discom spesificaton
60 | Universal Rod Stick (For neon tester) | 1 Per AMC Vehicle+ 1 per Section |  | Ritz, Bemico
61 | Crocodile Clamp with flexible copper minimum 16 sq.mm (SET of 4 clamps ) | 2 Per FCC + 3 Per Vehicle
62 | L& Key set | 1per FCC + 1 per Vehicle
63 | Fuse wire of different ratings | BA to maintain adequete Stock of Fuse Wires of diff Ratings (0.5 Kg per Lineman Person Per Quarter)
64 | Nut Bolt and washer of different sizes | BA must maintain Regular stock of 5 Kg per section/ Month
65 | Portable Spike earthing Rod | 6 Nos. Per FCC + 9 nos. Per Vehicle
66 | Cotton (dhoti) Clothes for cleaning | 3 Kg per Lineman per month
67 | First Aid Box | 1 per FCC & 1 per vehicle. |  | FA box as per factories/BOCW act for 25 person. Make Thadani or equivalent
68 | Rain Coat (For all BA employees) | 1 Per Highly Skilled, Skilled & Unskilled |  | Make- Duckback, KC pul, Zeel, wild craft
69 | Re chargeable Torch light 500W | 2 per FCC ,2 per vehicle.
70 | Helmet Mounted LED Light | 1 per lineman
71 | RCCB/ELCB Mounted Extension Board rating shall be not more than 30mA (Capacity - 63 A, Industrial Plug Type) with MCCB & 25 mtrs. of extension flexible wire. | 1 per Section
72 | Axe | 1 Per FCC+2 Per Vehicle
73 | Wire Rope Sling Set (1 Ton, 2 Ton, 5 Ton) 4m each | 1 per Section
74 | Katuri with insulated handle | 2 per FCC + 2 per section
75 | Measuring Tape | 1 Per Section
76 | Motorised dewatering pump with Pipe (0.5 HP) | 1 per Division
77 | Pole Cart | 1 per Division
78 | Tool pouch & Tool lanyard | 1 per skilled person / lineman
79 | Neon Tester (up to 33kV) | 1 per Vehicle+ 2 Per Section + 1 per FCC |  | Taurus, HVTI, Motwani
80 | Double seriesTest Lamp - Standardized with Probe & proper casing arrangement for bulb. | 1 Per FCC + 1 Per Vehicle
81 | Non contact type LT line tester. | 1 per skilled person / lineman |  | Fluke, Silicon waves
82 | Digital Clamp On meters | 1 Per FCC + 1 Per AMC Vehicle
83 | Smart tools (Battery Operated – Bosch Cordless Impact Wrench GDS 18V- EC 250 or GDS 18V 400) | 1 per Section
84 | Digital earth resistance tester with suitable probes (Make- Rishabh) | 1 Per Section
85 | Digital Insulation Resistance tester (500V-5000V) with suitable probes (Make- Rishabh) | 1 Per AMC Vehicle
86 | Telescopic Tree Pruner - Petrol or battery Operated | 1 Per Section |  | Sthil, Honda
87 | Clip Plier | 1 per Vehicle
88 | Insulated Wire stripper | 1 per Vehicle
89 | Industrial vacuum cleaner | 1 per division
90 | Pressure Torque wrench manual | 1 per division
91 | Hydraulic nut Cutter | 1 per division
92 | Hand grinder | 1 per division
93 | Measuring tape 30 M | 1 per section
94 | PVC insulation Tape 1.1 kV | 1 per lineman + BA must maintain Regular stock
95 | M seal Putty | BA must maintain Regular stock
96 | Grease / Lubricant oil | BA to maintain regular stock
97 | Hand operated oil Can | 1 per section
98 | sand paper | BA to maintain regular stock
99 | CRC 5-56 Powerspray | BA to maintain regular stock
100 | Steel Strapping Tool (For fixing Steel Strap & Buckles ) & Cutter | 1 per Section
101 | Oil BDV Test set (0-60kV) | 1 Per Sub-Division
102 | Safety Brass Chain 6m long along with nylon rope 8mm for shorting cum earthing. | 2 per FCC+ 3 Per AMC Vehicle
103 | Portable fire extinguisher | 1kg per vehicle